Company Name, Address & Phone Number

BACKFLOW PREVENTION ASSEMBLY TEST REPORT

CUSTOMER NAME: __________________________________________________________________

SERVICE ADDRESS: __________________________________________________________________________

METER LOCATION: ___________________________________________________________________________

ACCOUNT #_______________________                                            METER #_____________________

Type:_____    Size:_____    Manufacturer:___________     Model #:_____________     Serial #:________________

TEST RESULTS

Pass     	Fail     	        	                           See Comments     

| DCV |  |  |  |  |
| --- | --- | --- | --- | --- |
| RPP |  |  |  |  |
| #1 Check Valve | #2 Check Valve | Pressure Relief Valve |  |  |
|  Closed Tight _____._____ PSID  Leaked |  Closed Tight _____._____ PSID  Leaked | Opened At ______.______ PSID  Opened Under 2.0 PSID  Did Not Open |  |  |

INSPECTION RESULTS

	ASSEMBLY UNTESTABLE

	Unapproved Assembly		Test Cocks          #1       #2       #3       #4

	Shut-Off Valves     	#1		#2			Damaged

	No Access		Shut Down Not Possible

	ASSEMBLY INSTALLED INCORRECTLY

	Distance From Meter ________		Height ________

	Clearance _______		Configuration

	ASSEMBLY FAILURE

	Shut Off Valves Not Holding		#1		#2

	Check Valves Not Holding		#1		#2

	Pressure Relief Valve		Fouled		Not Opening		Opening Under 2.0 PSID

	Inadequate Buffer

	NO BACKFLOW PROTECTION / MISSING		UNPROTECTED CROSS-CONNECTION

COMMENTS

REQUIRED CORRECTION

	Install Approved RPP Lead Free Assembly		Install Approved DCV Device per Diagram

	Have Above Referenced Assembly Repaired		Replace with Approved Shut-Off Valves

	Have Assembly Tested		Remove/Protect Cross-Connection/By-Pass

	Install Assembly per SJW BK-RPP		Expose Piping for Inspection

	Call 279-7872 Regarding 		

Compliance is requested in accordance with Title 17 of the California Administrative Code and the SJWC Cross Connection Control Program.

By								Certification #			Date